K-3L Corridor Light User Manuals

How to register the number from button transmitter

Firstly open K-3L case (counter-clockwise)

Long press the “Fun” key, till 3 small light become red color, when light is red and flash, loose your hand.

Press any key from button transmitter when the light is flashing (within 5 seconds), it have a didi sound prompting after registering successfully.

How to change the color of light according to the service type

Long press the “Colour” key, it will show red color firstly, you can see rest colors if continue to press this key. If you want to show blue light when press “CALL” key on button transmitter, please press “CALL” key when the blue light is lighting.

Note: Different service type can pair same/different light color.

How to choose the prompting sound you like

Long press the “Sound” key, you will hear “dididi” sound firstly, press this key again to choose the sound you like. If you want to “Alarm tone” when press the “CALL” key on button transmitter, just press the “CALL” key when“Alarm tone”is ringing.

Note:Different service type can pair same/different prompting sound.

Turn ON/OFF the corridor light

Long Press the “Fun” key 3 seconds

How to resetting factory

Long press “colour” “Fun” “Sound” at the same time, then you will see the red light, it means set successfully.

In this case, the all number will be delete, all setting will be back to original status.

